## Slide 1: Neuromodulation in Headache Disease
L. Charleston IV, MD, MSc, FAHS
Professor of Neurology
Director, Division of Headache and Facial Pain
Department of Neurology & Ophthalmology
Michigan State University College of Human Medicine
Chief Consultant
Charleston Health Neurology & Head Pain Consultants
Twitter: @LCharlestonIVMD
LinkedIn: www.linked.com/in/LCharlestonIVMD
50th Clinical Neurological Society of American Meeting
January 2024

## Slide 2
Disclosures | 
Consulting Fee (e.g., Advisory Board):
AbbVie/Allergan, Ameal, Amgen, Aurene, Biohaven, Haleon, LinPharma, Lundbeck/Alder, Pfizer, Satsuma, Teva
Contracted Research (Principal Investigators must provide information, even if received by the institution):
Amgen

## Slide 3: Learning Objectives
At the end of the presentation, attendees should be able to:
Describe FDA-cleared non-invasive neuromodulation devices for migraine and cluster headache
Review the non-invasive neuromodulation device potential mechanisms of action
Itemize the non-invasive neuromodulation device cost and protocols for use
Remember: Neuromodulation is not neurotermination!

## Slide 4: Case
57 year old man, EMT, with disabling high frequency episodic migraine
For prevention has tried amitriptyline (too sedating), topiramate (cognitive impairment), propranolol (lightheaded)
For acute treatment has tried sumatriptan (chest tightness), rizatriptan (too sedating), zolmitriptan (nausea), naratriptan (too slow and ineffective), both gepants (too slow)
Does not want to try lasmiditan because needs to drive
https://stock.adobe.com/search/images?k=distinguished%20man

## Slide 5: Neuromodulation approaches for migraine
FDA
cleared
Puledda F, Goadsby PJ. Headache. 2017;57:685–691.
Single-pulse transcranial magnetic stimulation (sTMS)
External trigeminal neurostimulation (eTNS)
Non‐invasive vagus nerve stimulation (nVNS)
Remote electrical neuromodulation (REN)
Combined Occipital-Trigeminal Neurostimulation (COT-NS)

## Slide 6
Acute Migraine Treatment
Preventive Migraine Treatment

## Slide 7
Noninvasive Neuromodulation for Migraine
Combined occipital and supraorbital transcutaneous nerve stimulation4 (COT-NS) 4,5
1. Tepper SJ, Tepper DE. Practical Neurology. 2018;17:42-45; 2. Yarnitsky et al. Headache. 2019;59:1240-1252:
3. Rapoport AM and Tepper SJ. Headache. 2020;60:229-234; 4. Tepper SJ et al. Headache 2022;62: DOI: 10.1111/head.14350.
5. Sharon R and Tepper SJ. Headache 2022;62(S1):162 (abstract and ePoster presentation, AHS Annual Scientific Meeting 6/11/22.
External Trigeminal Stimulation1 (eTNS)
Single Pulse Transcranial Magnetic Stimulation1
Noninvasive Vagal Nerve Stimulation1 (nVNS)
Remote Electrical Neuromodulation2,3 (REN)
FDA Cleared:
ACUTE & PREVENTIVE
FDA Cleared:
ACUTE & PREVENTIVE
FDA Cleared:
ACUTE & PREVENTIVE
FDA Cleared:
ACUTE ONLY
Being Studied for Prevention

## Slide 8
Chart: 
Active | -2.1
Sham | 0.3
Chart: 
Active | 38.2
Sham | 12.2
1. Schoenen et al. Neurology. 2013;80;697-704; 2. Chou et al. Cephalalgia. 2019;39:3-14.
3. Kuruvilla et al. Scientific Reports 2022: 12:5110.
External Trigeminal Stimulation for Acute and Preventive Treatment of Migraine in Adults (eTNS)
Preventive RCT1: 20 minutes/day for 3 months; N=67
2 primary endpoints:
  Migraine days/month in third month: NS
  ≥50% reduction in migraine days/month, 38.2% vs sham (P=0.023)
1st Acute RCT2. 2019: 1 h stim; N=106
  VAS 1-hour pain score statistically significant active vs sham
2d Acute RCT TEAM study3 2002, 2h stim; N=538:
  2h pain freedom (p<0.04)
  2h MBS freedom 57% vs sham 43% (p<0.003)
FDA cleared in 2017 for preventive & acute
As of Oct 13, 2020, no prescription is necessary
8
Change in HA days (NS)
P=0.054
50% Responder Rates
P=0.023

## Slide 9: Potential mechanisms of action of eTNS: cortical or inhibitory via V1 to trigeminal nucleus caudalis (TNC)
P<0.05 cluster level corrected.
BOLD, blood oxygen level–dependent; rACC, right anterior cingulate cortex. Russo et al. Front Neurol. 2017;8:282.
0.30
0.25
0.20
0.15
0.10
0.05
0.00
–0.05
–0.10
–0.15
BOLD % signal changes
Before eTNS
After eTNS
BOLD response in rACC during stimulation at 51°C in patients with migraine without aura
Notes: The anti-migraine effects of external trigeminal neurostimulation (eTNS) are thought to involve functional antinociceptive modulation in the anterior cingulate cortex (ACC).
Whole-brain blood oxygen level–dependent (BOLD)-fMRI (as depicted on the left side of the slide) showed a greater BOLD response to noxious trigeminal heat stimulation in the perigenual part of the right ACC in adults with migraine without aura vs healthy controls. Treatment with eTNS resulted in a significant reduction (P=0.008) in BOLD response induced by the noxious stimulus in patients with migraine, as shown in the graph.

## Slide 10: Single Pulse Transcranial Magnetic Stimulator for Acute and Preventive Migraine Treatment Ages 12 and Above (sTMS)
Acute: RCT for migraine with aura1, now cleared for all migraine, 3 pulses, after 15 minute separations, may repeat twice more
Prevention2: 4 pulses BID
plus prn acute pulses
Max pulses/d= 17
1. Lipton et al. Lancet Neurol. 2010;9:373-80.
2. Starling et al. Cephalalgia. 2018;38:1038-1048.

## Slide 11: Potential mechanism of action of sTMS: Inhibits cortical spreading depolarization and inhibits thalamocortical pathways
CSD, cortical spreading depression; DC, direct current; K+, potassium; KCl, potassium chloride.
Andreou et al. Brain. 2016;139:2002–2014.
CSD waves induced by topical KCl application in rat cortex
Untreated animal
Animal treated with sTMS
Also inhibits thalamocortical pathways
via posterior to anterior magnetic pulses
Notes: The left side of the slide shows representative examples of waves of cortical spreading depression (CSD) induced in rats by topical application of potassium chloride (KCl). The upper panel is from an untreated animal, and the lower panel is from an animal treated by sTMS (170 µs, 1.1 T) 30 minutes post-KCl application.
As the graph on the right shows, single-pulse transcranial magnetic stimulation (sTMS) significantly decreased the frequency of CSD waves, as indicated by the number of cerebral blood flow and intracortical steady-state potential shift changes within 60 minutes of topical KCl application.

## Slide 12: Non-invasive Vagal Nerve Stimulator for Acute and Preventive Migraine Treatment, Ages 12 and Above (nVNS)
Acute1: 2h PF NS; other endpoints positive: Two 2-min stims, after 20 min separations may repeat twice more
Preventive2: MITT positive for migraine days: Two 2-minutes stimulation cycles TID
Tassorelli et al. Neurology. 2018;91(4):e364-e373.
Diener et al. Cephalalgia 2019;39:1475-1487.

## Slide 13: nVNS Mechanisms of Action
Durham et al. Headache. 2019;59(Suppl 1):8.
nVNS:
Inhibits trigeminal activation by enhanced descending pain modulation to prevent ascending nociceptive transmission
Terminates CSD
Inhibits thalamocortical pathways
Notes: 13

## Slide 14: Remote Electrical Neuromodulation for Acute Treatment of Migraine Ages 12 and Above (REN)
1. Yarnitsky et al. Headache 2019;59:1240-1252.
2. Tepper SJ et al. Pain Medicine 2020;21:3522-3529.
Regulatory RCT1, N=103, treatment 45 min
2h pain free statistically significant vs placebo
37.4% active vs 18.4% placebo
Cloud data collection2: 1,339 patients who treated without medication:
  58.9% 2h pain relief in ≥50% of attacks
  20% pain free in ≥50% of attacks
Positive studies and cleared for migraine prevention

## Slide 15: Mechanism of action of REN
TCC, trigeminal cervical complex.
Yarnitsky et al. Headache. 2019;59:1240–1252.
REN:
Activates nociceptive afferents without inducing pain, and by a conditioned pain modulation reflex, this inhibits pain at a different location
Notes: Remote electrical neuromodulation (REN) involves stimulation of upper arm peripheral nerves to induce conditioned pain modulation, an endogenous analgesic mechanism.
The REN device stimulates C and Aδ noxious sensory fibers of the upper arm above their depolarization thresholds but below the perceived pain threshold. The noxious information reaches the brainstem through the ascending pain pathway (depicted in black). This information activates the descending pain inhibitory pathway (shown in green), involving the brainstem pain regulation center (which includes the periaqueductal gray, rostral ventromedial medulla, and subnucleus reticularis dorsalis), and the release of serotonin and norepinephrine, which inhibit incoming messages of pain in the trigeminal cervical complex that occur during migraine headache (indicated in red).

## Slide 16: Combined Supra-orbital, Supra-trochlear (Trigeminal), and Greater Occipital Nerve Stimulation (Cervical) for Acute Migraine Treatment in Adults (COT-NS)
Acute Pivotal RCT, N=131, Treat for 60 minutes
2h Pain Relief Active: 60% ; Sham: 37% (P=0.0018)
2h Pain Free and 2h Freedom from MBS positive
Also being studied for migraine prevention
Tepper SJ et al. Headache 2022;62: DOI: 10.1111/head.14350.
Sharon R and Tepper SJ. Headache 2022;62(S1):162 (abstract and ePoster presentation, AHS Annual Scientific Meeting 6/11/22
Chart: Pain Relief at 2 hours (mITT)

## Slide 17
Trigeminal Autonomic Cephalalgia (TAC) Treatment via Non-invasive Neuromodulation

## Slide 18: nVNS FDA Cleared for Cluster Headache, Paroxysmal Hemicrania, Hemicrania Continua
  Acute Treatment of Episodic Cluster Headache1
    3 two-minute stimulations
    Wait 3 minutes and do 3 more 2-minute stimulations if needed
    Up to 4 attacks or 24 stimulations/day
  Adjunctive (on top of medication) Prevention of Cluster Headache2
    3 two-minute stimulations BID
  Treatment of Paroxysmal Hemicrania (PH)3,4 and Hemicrania Continua (HC)4
    Two 2-minute stimulations TID
Goadsby et al. Cephalalgia 2018;38:959-969.
Gaul et al. Cephalalgia 2016; 36:534-546.
Kamourieh et al. J Neurol Neurosurg Psychiatry. 2019;90:1072-1074.
Tso et al. JAMA Neurol. 2017;74:1266-1267.

## Slide 19
Summary of Neuromodulation (proposed) Mechanism of Action

## Slide 20
How Do Neuromodulation Devices Work?
Thal
Most modulate with peripheral access to central pathways
eTNS and COT-NS via V
sTMS and nVNS both interrupt CSD and inhibit thalamic pathways
COT-NS
via cervico-occipital pathways
nVNS via X
REN via Conditioned Pain Modulation (CPM) brainstem reflex
Adapted from Mark Burish, MD
Cortex

## Slide 21: Quality of Data 1
Most of the devices have positive, sham controlled RCTs
The sTMS sham for acute treatment was misjudged 80%;1 the COT-NS sham was misjudged 90% 2 -these shams were very effective
Most of the sham controlled RCTs were positive on primary endpoints:
  eTNS acute treatment of migraine3,4
  sTMS acute treatment of migraine with aura1
  nVNS acute treatment of episodic cluster headache5
  REN for acute treatment of migraine6
  COT-NS for acute treatment of migraine2
1. Lipton et al. Lancet Neurol. 2010;9:373-80; 2. Tepper SJ et al xxxxx; 3. Chou et al. Cephalalgia. 2019;39:3-14; 4. Kuruvilla et al. Scientific Reports 2022: 12:5110. 5. Goadsby et al. Cephalalgia 2018;38:959-969; 6. Yarnitsky et al. Headache 2019;59:1240-1252.

## Slide 22: Quality of Data 2 and FDA Clearance
Some of the pivotal trials had non-significant primary endpoints:
  eTNS prevention on one of the two primary endpoints1
  nVNS for prevention and acute treatment of migraine2,3
Two of the pivotal trials were open label:
  sTMS for migraine prevention4
  nVNS for cluster prevention5
FDA clearance for indications is based on the preponderance of evidence, sometimes resulting in clearance based on studies with negative primary endpoints, sometimes resulting in clearance based on open label studies, and for two indications based on case series
1. Schoenen et al. Neurology. 2013;80;697-704; 2.Tassorelli et al. Neurology. 2018;91(4):e364-e373; 3.Diener et al. Cephalalgia 2019;39:1475-1487; 4. Starling et al. Cephalalgia. 2018;38:1038-1048; 5. Gaul et al. Cephalalgia 2016; 36:534-546.

## Slide 23: Limited Access Except the VA; Current Costs
eTNS: $400 one time to own, monthly payments available, $25 for 3 electrodes, 90 day return policy, no prescription necessary
sTMS: $1,050 one time for 3 months, then $350/month to rent -- CarePoint PA program*
nVNS: $200/month for unlimited one month use for acute and/or preventive indications
REN: $69 for first device (18 treatments), 2 refill options
  1/ $89
  3/ $199/($66 per device)
COT-nS: $200 for the first 3 months unlimited use, $75/month thereafter

## Slide 24: AHS recommends non-drug acute migraine treatment when:
Patient prefers non-drug treatments
Drug treatment ineffective
Drug treatment contraindicated
Drug treatment intolerable
Ailani et al. Headache. 2021;61:1021-1039.

## Slide 25: Criteria for initiating acute treatment with gepants, ditans, or neuromodulatory devices
Ailani J, et al Headache. 2021 Jul;61(7):1021-1039

## Slide 26: Excuses from Commercial Payers
“Poor quality of data”
“FDA clearance is not FDA approval”
“No outcome data”
“These devices are experimental”
“Medical/Durable Medical Equipment (DME) benefit, not pharmacy benefit”
“No demand for these devices”
“Absence of confirmatory guidelines”

## Slide 27: Back to the Patient
He had numerous preventive medications & acute medications fail him
He is a perfect candidate for neuromodulation, with 10-14 HA days/month, so good for both preventive and acute indications, preferably a device that does both (eTNS, sTMS, or nVNS)
https://stock.adobe.com/search/images?k=distinguished%20man

## Slide 28: Appropriate patients for neuromodulation
Young patients with episodic migraine who don’t want medications
Those planning pregnancy
Those with multiple medication failures or contraindications
Chronic migraine for whom other options are close to exhausted
Adjunctive use on top of medications
To shift the locus of control to patient with adherence or therapy commitment issues

## Slide 29: Conclusions
FDA-cleared non-invasive neuromodulation devices
  For migraine: eTNS, sTMS, nVNS, REN, COT-NS
  For TACs: nVNS
Migraine Acute and Prevention: eTNS, sTMS, nVNS
Migraine Acute Only: REN, COT-NS
For Adolescents and Adults: sTMS, nVNS, REN
As noted, for the patient described: eTNS, REN, or COT-NS would be reasonable
Non-invasive neuromodulation non-significant risk devices should be integrated into daily headache practice
Tolerability, safety, and efficacy are well established with RCTs
Providers and patients will need to advocate for payer access, as cost and access continue to be challenges

## Slide 30: Thank you for your attention! Questions?
Twitter/Facebook: @LCharlestonIVMD
LinkedIn: www.linked.com/in/LCharlestonIVMD
Picture of a few MSU HFPD Members